# A Brief Guide to Mold, Moisture Cleanup

# Tips and techniques

The tips and techniques will help you clean up your mold problem.  Professional cleaners or remediators may use other methods.  Please note that mold may cause staining and cosmetic damage.  It may not be possible to clean an item so that its original appearance is restored.

- Fix plumbing leaks and other water problems as soon as possible.  Dry all items completely.

- Scrub mold off hard surfaces with detergent and water, and dry completely.

- Absorbent or porous materials, such as ceiling tiles and carpet, may have to be thrown away if they become moldy.  Mold can grow on or fill in the empty spaces and crevices of porous materials, so the mold may be difficult or impossible to remove completely.

Avoid exposing yourself or others to mold. It is important to take precautions to LIMIT YOUR EXPOSURE to mold and mold spores.

- Avoid breathing in mold or mold spores.  In order to limit your exposure to airborne mold, you may want to wear an N-95 respirator, available at many hardware stores and from companies that advertise on the Internet. (They cost about $12 to $25.)

- Wear gloves. Long gloves that extend to the middle of the forearm are recommended.  When working with water and a mild detergent, ordinary household rubber gloves may be used.  If you are using a disinfectant, a biocide such as chlorine bleach, or a strong cleaning solution, you should select gloves made from natural rubber, neoprene, nitrile, polyurethane, or PVC.  Avoid touching mold or moldy items with your bare hands.

- Wear goggles.  Goggles that do not have ventilation holes are recommended.  Avoid getting mold or mold spores in your eyes.

- Do not paint or caulk moldy surfaces.  Clean up the mold and dry the surfaces before painting.  Paint applied over moldy surfaces is likely to peel.

- If you are unsure about how to clean an item, or if the item is expensive or of sentimental value, you may wish to consult a specialist.  Specialists in furniture repair, restoration, painting, art restoration and conservation, carpet and rug cleaning, water damage, and fire or water restoration are commonly listed in phone books.  Be sure to ask for and check references.  Look for specialists who are affiliated with professional organizations.

BATHROOM TIP

Places that are often or always damp can be hard to maintain completely free of mold.  If there's some mold in the shower or elsewhere in the bathroom that seems to reappear, increasing ventilation (running a fan or opening a window) and cleaning more frequently will usually prevent mold from recurring, or at least keep the mold to a minimum.